GOVERNMENT OF KARNATAKA

RAICHUR INSTITUTE OF MEDICAL SCIENCES,

HYDERABAD ROAD, RAICHUR-584102

(An Autonomous Institute of Government of Karnataka)

Telephones: 08532 -238488 fax: 08532 -238489

Web: www. rims-raichur.com          e-mail: info@rims-raichur.com

E-PROCUREMENT TENDER FOR SUPPLY OF SUPPLY OF   FLAT PANEL CEILING/FLOOR MOUNTED CATH LAB WITH  ACCESSORIES REQUIRED FOR THE DEPARTMENT OF CARDIOLOGY RAJIV GANDHI SUPER SPECIALITY HOSPITAL RIMS, RAICHUR

(Through e-procurement portal only)

https://eproc.karnataka.gov.in

BID DOCUMENT-TWO BID SYSTEM

REF:-TENDER NOTIFICATION NO.RIMS/SUP/E-TEND/EQP/45/2013-14,

(IND-456) DATED: - 06.12.2013

LAST DATE FOR SUBMISSION OF TENDER:-10.01.2013

INDEX

This Tender Document contains the following

| Sl. No | CONTENTS | Page No. |
| --- | --- | --- |
| 01. | Section – I Invitation for Tenderers. | 03-04 |
| 02. | Section – II Terms and Conditions. | 05-08 |
| 03. | Section – III Tender Notification. | 09 |
| 04. | Section – IV Instructions to Tenderers. | 10-17 |
| 05. | Section – V General Conditions of Contract | 18-24 |
| 06. | Section – VI Special Conditions of Contract | 25-28 |
| 07 | Section – VII Schedule of requirements & Technical Specifications | 29-60 |
| 08 | Section – VIII Qualification Criteria | 61 |
| 09 | Section – IX Tender Offer Form-Part I | 62 |
| 10 | Section – IX Tender Declaration Form-Part II | 63 |
| 11 | Section – X Price Schedule | 64 |
| 12 | Section – XI Contract Form | 65 |
| 13 | Section – XII Performance Security Bank Guarantee | 66 |
| 14 | Section – XIII Proforma for Performance Statement for the last five years | 67 |
| 15 | Section – XIV Manufacturer’s Authorization Form | 68 |
| 16 | Section – XV Performance for equipment and Quality Control Employed by the Manufacturer | 69 |
| 17 | Section – XVI User Certificate Format | 70 |
| 18 | Section – XVII Sales Tax Clearance Certificate | 71 |

SECTION – I

INVITATION FOR TENDER

1.  The Director, RaichurInstitute of Medical Sciences, Raichur, hereby invites tenders under

e-Tendering system from Manufacturers and Principle Authorized Agents/ Distributors for

supply of   Medical Equipments detailed in Section VII of this Tender.

Note:

- The term ‘Authorized Signatory’, means a Proprietor /Proprietreix, or a Managing partner or an whole-time employee, in executive cadre, in a Proprietorship Concern / Partnership Firm or a person who is working as Managing Director / Director Finance / Director Marketing / General Manager / Assistant General Manager / Manager / Company Secretary in the Tenderer Company, who has authority to take decision on the spot with regard to all the aspects of the Tender.

- The term “PURCHASER” for the purpose of placing the order, accepting / rejecting the goods, payments and demanding the Tenderer for demonstration of the items by the Director, Raichur Institute of Medical Sciences, Raichur, who are bound by the Contract in pursuance of this Tender, while purchasing items.

- The term “TENDERER” means the Manufacturer, Principle Authorized Agent / Distributors and  participating in this tender.

- The term “CONTRACTOR” refers to the successful Tenderer who has entered into an agreement with Director, Raichur Institute of Medical Sciences, Raichur for the purpose of supplying Medical Equipments/Instruments as mentioned in this tender.

- SSI units of Karnataka State shall be given price preference in accordance with New Industrial Policy  provided that they fulfill all the other prescribed criteria and become responsive and if the policy is in operation as on the date of Tender Notification.

- Domestic Small Scale Industrial Unit’ means an industrial unit in which the investment In fixed assets in plant and machinery, whether held on ownership or on lease or by hire purchase, does not exceed rupees one crore, and which manufactures the goods within the state and registered with the Director of Industries and Commerce, Government of Karnataka and their registration is valid as on the last date of submission of tender.

- The Director, RaichurInstitute of Medical Sciences, Raichur shall be the Tendering Authority for the purpose of this tender.

2.  Tenderers are free to quote for items listed in Section VII.

The evaluation of tender will be done on per item basis, denoted by the items code.

3.  Tenders of only those Tenderers who fulfill the Terms and Conditions of this tender will be considered for evaluation.

The tenders will undergo evaluation at every stage of processing and any tender found at any stage, not in conformity with the stipulated tender conditions including specifications / found to have uploaded defective and incomplete documents / demonstrated items found not in conformity with the specifications or found defective either physically or analytically, will be rejected.

4. Interested eligible Tenderers may obtain further information from the Office of the Director, RaichurInstitute of Medical Sciences, Hyderabad Rod, Raichur-583 104’.   Ph: 08532-238488 Fax No.08532-235 489.

5.  (a) Schedule of Events:-

| Commencement of download of e-Tender Form from website- http//eproc.karnataka.gov.in | 12.12.2013 |
| --- | --- |
| Last Date for Queries on or before | 24.12-2013 @ 05.00 PM. |
| Last Date for Uploading of Tender in e-procurement platform on or before | 10.01.2014 Up to 5.00 PM. |
| Opening of Techno-Commercial Bid | 15.01.2014 at 11:30 A.M |
| Opening of Price Bid | 22.01.2014 at 11:30 A.M or next any further date to be notified |

(b) Venue: Office of the Director, RaichurInstitute of Medical Sciences, Hyderabad Rod, Raichur-584102’. Ph: 08532-238488 & Fax No.08532-238489.

(c ) Opening of Financial Bid/Commercial Bid:-

Price Bid of only those Techno-Commercially responsive Tenderers will be opened on a date notified or on any further date to be notified/ informed to the Techno-Commercially responsive Tenderers.

(d) Tenders shall remain valid for 180 days after the deadline for submission of tenders prescribed by

the purchaser, a Tender valid for shorter period shall be rejected by the purchaser, as Non

Responsive.

6. Completed Tender document shall be uploaded through e-tendering system using their user ID and to

be addressed to the Office of the Director, Raichur Institute of Medical Sciences, Hyderabad Rod,

Raichur- 584 102 , in the manner described under instructions in Section– II, on or before the last

date and time  stipulated.

SECTION-II

TERMS AND CONDITIONS

1.1 The Tender shall be uploaded only if the Tenderer is agreeable to all the Terms and Conditions of this Tender, which includes the Description and Specifications of the Items mentioned therein.

a.The Tenderer shall upload the tenders through e-tendering system using User’s ID and Digital Signature Certificate for Techno-Commercial and Price Bids.

b. Items required are listed with specific Code numbers and other details in Section VII.

1.2 Irrespective of the terms and conditions the Tenderer may have specified, only the terms and conditions specified in this tender shall be binding on the Tenderer and the tendering authority.

2.  The Tenderer shall upload the tender in the manner described here under: -

A.TECHNO-COMMERCIAL BID SHALL CONTAIN DOCUMENTS LISTED UNDER

TECHNICAL QUALIFICATION CRITERIA.

A.1 Earnest Money Deposit/ Bid security-

The Tenderer can pay the Earnest Money Deposit (EMD) as mentioned in e-portal web site (Exclusive of Tax, Duties and other charges) in the e-Procurement portal using any of the following payment modes:-

- Credit Card

- Direct Debit

- National Electronic Fund Transfer (NEFT)

- Over the Counter (OTC)

OTC Designated Bank Branches listed in e-portal web site can be obtained through website http://eproc.karnataka.gov.in in contractors section where a Contractor can make a payment.

The Tenderers Bid will be evaluated only on confirmation of receipt of the payment Earnest Money Deposit (EMD) in the GOK’s central pooling A/c held at ICICI Bank.

EMD amount will have to be submitted by the Contractor taking into account the following conditions:

- EMD will be accepted only in the form of electronic cash in any of the designated ICICI Bank

Branches located across the Country (and not through Bank Guarantee) and will be maintained in the Govt.’s central pooling account at ICICI Bank until the contract is closed.

b. The entire EMD amount for a particular tender has to be paid in a single transaction

c. The EMD money received for all the tenders floated through the e-Procurement platform will

be collected and maintained in a central pooling account.

A.2 Refund of EMD:-

The EMD money will be kept in the central pooling account until the tender is awarded to the successful Tenderers. Based on the instructions of Tender Accepting Authority (TAA) the EMD amount of the unsuccessful Tenderers will be refunded to the respective Bank a/c’s of the Contractor registered in the e-Procurement system.

A.3 SALES TAX/VAT

Notarized Copy of Sales Tax /VAT Registration Certificate along with Professional tax Commodity Description of the Tenderer shall be uploaded otherwise will be considered as “Non-Responsive”.

A.4 PAN CARD

Notarized Copy of PAN Card of the Tenderer shall be uploaded otherwise will be considered as “Non-Responsive”.

A.5 SALES TAX CLEARANCE CERTIFICATE:-

Notarized Latest Sales Tax Clearance Certificate as per  Section XVII or in the valid format for preceding 3 financial years and Tax cleared up to 31-03-2011, 31-03-2012 & 31-03-2013 i.e. for the years 2010-11, 2011-12 & 2012-13 issued by the concerned authorities shall be uploaded otherwise will be considered as “Non-Responsive”.

A.6 (a) ANNUAL TURNOVER STATEMENT:-

A). 	For preceding three financial years 2010-11, 2011-12 and 2012-13 i.e., for 31-03-2011, 31-03-2012 & 31-03-2013  of the Manufacturer and if the Tenderer is an Authorized Dealer/Agent/Distributor should upload the copy of his Annual Turn over certified by Commercial Tax Officer/Charted Accountant is to be uploaded otherwise will be considered as “Non Responsive annul turnover should be Rs500.00Lakhs for the each year

A-7  BALANCESHEET AND PROFIT & LOSS ACCOUNT.

The tenderer should upload the Balance Sheet and Profit & Loss account for preceding three

financial years 2010-11, 2011-12 & 2012-13 i.e., for 31-03-2011, 31-03-2012 & 31-03-2013 of the Tenderer certified by Chartered Accountant otherwise will be considered as “Non Responsive”.

A.8 Manufacturing License.

a)  Notarized copy of the Manufacturing license, duly renewed up to date along with list of products permitted (Items to be quoted) is to be uploaded if Tenderer is a Manufacturer. The Manufacturer  must have the valid Manufacturer License for the quoted items, without break for at least last three years otherwise will be considered as “Non Responsive”.

- In case of Manufacturing License applied for renewal, it is insisted to upload the validity certificate from the licensing authority in respect of their license that it continues to be valid during the period of tender process i.e. after submission for the renewal, till the time the license is actually been renewed, is to be uploaded otherwise will be considered as “Non Responsive”.

- If the tendrer is registered under SSI unit original copy of valid SSI certificate issued by Director of Industries Commerce, Government of Karnataka is to be uploaded, otherwise they will not treated as SSI units of Karnataka.

A.08 (A). AUTHORIZATION CERTIFICATE :-

The form of Authorization issued by the Manufacturer to the Principle Authorized Dealer/Agent/Authorized Distributor /Importer, referred in Section XIV in original, is to be uploaded if Tenderer is an Authorized Dealer/Agent/Distributors otherwise will be considered as “Non-Responsive”. Further Sub Agents/Distributors are not allowed

A.09-TENDER OFFER FORM :-

Tender Offer Form with an undertaking to abide by the terms and conditions of the tender in the format as  per Section –IX-Part-I, of the Tenderer is to be uploaded otherwise will be considered as “Non-Responsive”.

A.10. DECLARATION FORM

Declaration form the Tenderer in the format as per Section-IX Part II of the Tenderer is to be uploaded otherwise will be considered as “Non-Responsive”.

A.11. List of Equipments quoted

List of Equipments along with manufacturer name, country of origin and Model quoted by the tenderer should be clearly furnished separately  and should be uploaded otherwise will be considered as “Non-Responsive”.

A.12. LIST OF ITEMS SUPPLIES :-

List of Items supplied to various Government/Quasi Government/Autonomous Institutions with quantities during the financial years 2010-11, 2011-12 & 2012-13 i.e., for 31-03-2011, 31-03-2012 & 31-03-2013 if any as per the Section XIII of the Tenderer is to be uploaded otherwise will be considered as “Non- Responsive”.

A.13. SUBMISSION OF ORIGINAL DOCUMENTS:-

All documents uploaded under Technical Bid should be produced before the Tender Committee members for verification on the day of opening of Technical Bid failing which the bidder will be treated as Non Responsive and his tender will be rejected without notice.

A.14.ISI/ISO/C.E/FDA &  any CERTIFICATES :

Standards of quality control Certificates-ISI / ISO / C.E / FDA, notary attested photocopy is to be uploaded, otherwise the products will not be considered and will be considered as “Non- Responsive”.

A.15.Technical specifications information Literature & Brochure of the Equipment

The Original Technical specifications information complete Literature & Brochure of the Equipment &  Instrument quoted by the Tenderer is to be uploaded otherwise will be considered as “Non- Responsive”.

A. 16. Compliance for the Tender specifications and clarifications for deviations

Compliance for the Tender specifications and clarifications for deviations of the Equipment &

Instrument quoted by the Tenderer is to be uploaded otherwise will be considered as “Non-

Responsive”.

A. 17. Service Centre/s in Karnataka & Technical Staff available

Service Centre/s in Karnataka & Technical Staff available for the Equipment & Instrument quoted by  the  Tenderer is to be uploaded otherwise will be considered as “Non- Responsive”.

A.18.SOLVENCY CERTIFICATE

The Tenderers are required to upload the Original Solvency Certificate issued in favour of Director RIMS Raichur to the total value of Rs200Lakhs

A-19.  User’s Certificate/s of supplies/Installations

User’s Certificate/s of supplies/Installations of similar Equipment for the last 3 years supplied to various Government/Quasi Government/Autonomous Institutions with quantities during the financial years 2010-11, 2011-12 & 2012-13 i.e., for 31-03-2011, 31-03-2012 & 31-03-2013 if any as per the Section XVI of the Tenderer is to be uploaded otherwise will be considered as “Non- Responsive

A-20.  AERB approval

Notarized AERB approval copy for the unit is to be uploaded otherwise will be considered as “Non- Responsive

A-21.  BIS approval

Notarized BIS (Bureau of Indian Standards) for the Medical & Electrical Safty is to be uploaded otherwise will be considered as “Non- Responsive

A.20. The Documents/Certificates should be:-

i) The documents / certificates should be under the name and address of the premises where

items  quoted are actually manufactured otherwise will be considered as “Non- Responsive”.

a) The Documents uploaded should be clearly visible failing which such documents shall not be                                                     	     considered.

b) The documents uploaded in general documents should be named individually.

B.  PRICE BID SHALL CONTAIN THE DOCUMENTS LISTED HEREUNDER:

B.1 (i) PRICE SCHEDULE

a) 	Price Schedule format shall be furnished as per Section X is to be uploaded

b) The rate quoted in the e-procurement platform format should be for the unit. The Tenderers are strictly prohibited to change/alter specification or unit size given in the e-procurement platform format otherwise the rates offered will not be considered.

B.2 Both the Technical Bid & Commercial Bid for supply of Equipments/Instruments shall have to

be uploaded under appropriate headings.

a) In the event of any discrepancy with respect to the rates quoted the Purchaser reserves the right to   accept the lowest rate.

b) All pages of the Tender except for printed literature if any enclosed shall carry the full

signature  of   the person signing the Tender.

SECTION-III

No.RIMS/SUP/E-TEND/EQP/45/2013-14 			Dated : 06.12.2013

SHORT TERM E- TENDER NOTIFICATION

Short term E-Tender is invited from eligible Bidders for supply of Cath lab with Accessories  required for the Department of Cardiology  Rajiv Gandhi Super Speciality Hospital  RIMS Raichur, under Two Cover Bid System the details of Equipments will be viewed from  e-procurement portal of Government of Karnataka. www.eproc.karnataka.gov.in   (Note:-Sub-Agents/Distributors are not allowed.)

(1). Tender Documents may be down loaded from the e-procurement portal from 12.12.2013

(2). Tender must be submitted online through e- portal on or before 10.01.2014 up to 05.00 PM.

(3). Technical Bids will be opened on 15.01.2014@ 11.30 A.M.  Further information may be

Obtained from the above office during office hours & also from this office and our web site

https://www.rims-raichur.com

Dean cum Director,

Raichur Institute of Medical Science,

Raichur

SECTION-IV

INSTRUCTIONS TO TENDERERS

TABLE OF CLAUSES

Clause 	Topic 	   Page

No. 	Number 	    No.

A. Introduction

1. 	Eligible Tenderer 	08

2. 	Cost of Tendering 	08

B. Tender Documents

3. 	Contents of Tender Documents 	08

4. 	Clarification of Tender Documents     	08

5. 	Amendment of Tender Documents      	08

C. Preparation of Tenders

6.. 	Language of Tender 	09

7. 	Documents Comprising the Tender     	09

8.. 	Tender Form 	09

9. 	Tender Prices 	09

10. 	Tender Currency 	10

11. 	Documents Establishing Tenderer’s  Eligibility and Qualifications 	10

12. 	Documents Establishing Goods Eligibility and Conformity to Tender Documents   	10

13. 	Earnest Money Deposit 	10

14. 	Period of Validity of Tenders 	11

15. 	Format and Signing of Tender 	11

D. Submission of Tenders

16.         Sealing and Marking of Tenders 	12

17 	Deadline for submission of Tenders    	12

18. 	Late Tenders 	12

19 	Modification and Withdrawal of Tenders 	12

E. Tender Opening and Evaluation of Tenders

20 	Opening of Tenders by the Purchaser  	13

21 	Clarification of Tenders 	13

22 	Preliminary Examination 	13

23 	Evaluation and Comparison of Tenders 	14

24 	Contacting the Purchaser 	15

F. Award of Contract

25 	Post-qualification 	16

26 	Award Criteria 	16

27 	Purchaser’s Right to Vary Quantities at Time of Award 	16

28 	Purchaser’s Right to accept any Tender and to Reject any or all Tenders 	16

29 	Notification of Award 	16

30 	Signing of Contract 	16

31 	Performance Security 	17

32 	Corrupt and Fraudulent Practices 	17

SECTION-IV

INSTRUCTION TO TENDERERS

A. Introduction

1. 	Eligible Tenderers

1.1 	Tenderers should not be associated, or have been associated in the past, directly or indirectly, with a firm or any of its affiliates which have been engaged bypa the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the goods to be purchased under this Invitation of Tenders.

1.2 	Bidders  shall  not  be  under  a  declaration  of  ineligibility  for  corrupt  and  fraudulent  practices  issued  by  Government of Karnataka

2. 	Cost of Tendering:

2.1 	The Tenderer  shall  bear  all  costs  associated  with  the  preparation  and  submission  of  its  tender,  and “The Director, RIMS, Raichur” hereinafter referred to as "the Purchaser", will in no case be responsible or liable for these costs, regardless of the  conduct or outcome of the tender process.

B. The Tender Documents

3. 	Contents of Tender Documents

3.1 	The goods required, tendering procedures and contract terms are prescribed in the tender documents. In addition to the Invitation for Tenders, the tender documents include:

(a) 	Instruction to Tenderers (ITT);

(b)  	General Conditions of Contract (GCC);

(c)  	Special Conditions of Contract (SCC);

(d)  	Schedule of Requirements;

(e)  	Technical Specifications;

(f)  	Tender Form and Price Schedules;

(g)  	Contract Form;

(h)  	Performance Security Form;

(i) 	Performance Statement Form;

(j)       Manufacturer’s Authorization Form;

(k)      Equipment and Quality Control Form

(l)       User Certificate Form

3.2 	The Tenderer is expected to examine all instructions, forms, terms, and specifications in the tender documents.  Failure to furnish all information required by the tender documents or submission of a tender not substantially responsive to the tender documents in every respect will be at the Tenderer’s risk and may result in rejection of its tender.

4. 	Clarification of Tender Documents

4.1 	A prospective Tenderer requiring any clarification of the tender documents may notify the Purchaser in writing  or  by  telex  or  cable  or  fax or e-mail at  the  Purchaser's  mailing  address  indicated  in  the  Invitation  for  Tenders.  The Purchaser will respond in writing to any request for clarification of the tender documents which it receives within stipulated period prescribed by the Purchaser.

5. 	Amendment of Tender Documents

5.1 	At any time prior to the deadline for submission of tenders, the Purchaser may, for any reason, whether at its

Own initiative or in response to a clarification requested by a prospective tenderer, modify the tender documents by amendment.

5.2 	All prospective tenderers who have received the tender documents will be notified of the amendment in e-portal and will be binding on them.

5.3 	In  order  to  allow  prospective  tenderers  reasonable  time  in  which  to  take  the  amendment  into  account  in  preparing their tenders, the Purchaser, at its discretion, may extend the deadline for the submission of tenders.

C. Preparation of Tenders

6. 	Language of Tender

6.1 	The  tender  prepared  by  the  Tenderer,  as  well  as  all  correspondence  and  documents  relating  to  the  tender  exchanged by the Tenderer and the Purchaser, shall be written in English language.  Supporting documents and  printed literature furnished by the Tenderer may be in another language provided they are accompanied by an  accurate translation of the relevant passages in the English language in which case, for purposes of interpretation  of the Tender, the translation shall govern.

7. 	Documents Constituting the Tender

7.1 	The tender prepared by the Tenderer shall comprise the following components:

(a) 	A Tender Form and a Price Schedule completed in accordance with ITT Clauses 8, 9 and 10;

(b)  	Documentary  evidence  established  in  accordance  with  ITT  Clause  11  that  the Tenderer  is  eligible  to  tender and is qualified to perform the contract if its tender is accepted;

(c) 	Documentary  evidence  established  in  accordance  with  ITT  Clause  12  that  the  goods  and  ancillary  services  to  be  supplied by  the Tenderer  are  eligible  goods  and  services  and  conform  to  the  tender  documents; and

(d) 	Earnest money deposit furnished in accordance with ITT Clause 13.

8. 	Tender Form

8.1 	The Tenderer  shall  complete  the  Techno-Commercial Bid and  the Price  Schedule  furnished  in  the  tender  document & e-portal,  indicating the goods to be supplied, a brief description of the goods, their country of origin, quantity and prices.

9. 	Tender Prices

9.1 	The Tenderer shall indicate on the Price Schedule the unit prices and total tender prices of the goods it proposes to supply under the Contract in Price Bid.  To this end, the tenderers are allowed the option to submit the tenders for any one  or more schedules specified in the ‘Schedule of Requirements’ and to offer discounts for combined schedules.   However,  tenderers  shall  quote  for  the  complete  requirement  of  goods  and  services  specified  under  each  schedule on a single responsibility basis, failing which such tenders will not be taken into account for evaluation  and will not be considered for award

9.2 	Prices indicated on the Price Schedule shall be entered separately in the following manner as per Section-X.

(i)  the price of the goods, quoted (ex-works, ex-factory, ex-showroom, ex-warehouse, or off-the-shelf, as applicable), including all duties and sales and other taxes already paid or payable

a. 	on components and raw material used  in the manufacture or assembly of goods quoted ex-works  or ex-factory; or

b. 	on the previously imported goods of foreign origin quoted ex-showroom, ex-warehouse or off-the- shelf.

(ii)     Any Indian duties, sales and other taxes which will be payable on the goods if this Contract is awarded;

(iii)  The price for inland transportation, insurance and other local costs incidental to delivery of the goods to their final    destination; and

(iv)    The price of other incidental services listed in Clause 4 of the Special Conditions of Contract.

9.3 	The  Tenderer’s separation of the price components in accordance with ITT Clause 9.2 above will be solely for  the  purpose  of  facilitating  the  comparison  of  tenders  by  the  Purchaser  and  will  not  in  any  way  limit  the  Purchaser's right to contract on any of the terms offered.

9.4 	Prices quoted by the Tenderer shall be fixed during the Tenderer’s performance of the Contract and not subject to variation on any account.  A  tender  submitted  with  an  adjustable  price  quotation  will  be  treated  as  non- responsive and rejected, pursuant to ITT Clause 22.

10. 	Tender Currency

10.1     Prices shall be quoted in Indian Rupees:

11.  	Documents Establishing Tenderer's Eligibility and Qualifications

11.1    Pursuant  to  ITT  Clause  7,  the  Tenderer  shall  furnish,  as  part  of  its  Tender,  documents  establishing  the  Tenderer’s eligibility to tender and its qualifications to perform the Contract if its tender is accepted

11.2    The documentary evidence of the Tenderer's qualifications to perform the Contract if its tender is accepted, shall establish to the Purchaser's satisfaction:

(a) 	that, in the case of a Tenderer offering to supply goods under the contract which the Tenderer did not  manufacture or otherwise produce, the Tenderer has been duly authorized (as per Authorization Form in  Section-XIV) by the goods' Manufacturer or producer to supply the goods in India.

(The item or items for which Manufacturer’s Authorization is required should be specified)

[Note:    Supplies  for  any  particular  item  in  each  schedule  of  the  tender  should  be  from  one  manufacturer only.  Tenders from agents offering supplies from different manufacturers for the same item of the schedule in the tender will be treated as non-responsive.]

(b)  That the Tenderer has the financial, technical, and production capability necessary to perform the Contract and meets the criteria outlined in the Qualification requirements specified in Section-VIII. To this end, all tenders submitted shall include the following information:

(i)   	The legal status, place of registration and principal place of business of the company or firm or partnership, etc.;

(ii)  Details of experience and past performance of the tenderer on equipment offered and on those of  similar nature within the past five years and details of current contracts in hand and other  commitments (suggested proforma  given in Section-XIII);

12. 	Documents Establishing Goods’ Eligibility and Conformity to Tender Documents

12.1     	Pursuant to ITB Clause 7, the Tenderer shall furnish, as part of its tender, documents establishing the eligibility and conformity to the tender documents of all goods and services which the tenderer proposes to supply under the contract.

12.2     	The documentary evidence of conformity of the goods and services to the tender documents may be in the form of literature, drawings and data, and shall consist of:

(a) 	A detailed description of the essential technical and performance characteristics of the goods;

(b)  A list giving full particulars, including available sources and current prices, of spare parts, special tools,  etc., necessary for the proper and continuing functioning of the goods for a period of two years, following  commencement of the use of the goods by the Purchaser; and

(c) an  item-by-item  commentary  on  the  Purchaser's  Technical  Specifications  demonstrating    substantial  responsiveness of the goods and services to those specifications or a statement of deviations and exceptions  to the provisions of the Technical Specifications.

12.3     	For purposes of the commentary to be furnished pursuant to ITT Clause 12.2(c) above, the Tenderer shall note  that standards for workmanship, material and equipment, and references to brand names or catalogue numbers  designated  by  the  Purchaser  in  its  Technical  Specifications  are  intended  to  be  descriptive  only  and  not  restrictive.  The  Tenderer  may  substitute  alternative  standards,  brand  names  and/or  catalogue  numbers  in  its  tender,  provided  that  it  demonstrates  to  the  Purchaser's  satisfaction  that  the  substitutions  ensure  substantial  equivalence to those designated in the Technical Specifications.

13. 	Earnest Money Deposit

13.1     	Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its tender, earnest money deposit in the amount as specified in Section-V - Schedule of Requirements.

13.2 	The earnest money deposit is required to protect the Purchaser against the risk of Tenderer's conduct which would warrant the security's forfeiture, pursuant to ITB Clause 13.7.

13.3 	The earnest money deposit shall be denominated in Indian Rupees and shall:

- at the tenderer’s option, be in the form of either a certified check, pay order, letter of credit, a

Demand draft, or a bank guarantee from a Nationalized/Scheduled Bank located in India or

Specified small savings instruments;

- the bank guarantee be substantially in accordance with the form of earnest money deposit included

In Section VIII or other form approved by the Purchaser prior to tender submission;

- be payable promptly upon written demand by the Purchaser in case any of the conditions listed in

ITT Clause 13.7 are invoked; be submitted in its original form; copies will not be accepted; and

Remain valid for a period of 45 days beyond the original validity period of tenders, or beyond any period of extension subsequently requested under ITT Clause 14.2.

13.4 	Any tender not secured in accordance with ITT Clauses 13.1 and 13.3 above will be rejected by the Purchaser as non-responsive, pursuant to ITT Clause 22.

13.5 	Unsuccessful Tenderer's earnest money deposit will be discharged/returned as promptly as possible as but not later than 30 days after the expiration of the period of tender validity prescribed by the Purchaser, pursuant to ITT Clause 14.

13.6 	The successful Tenderer's earnest money deposit will be discharged upon the Tenderer signing the Contract, pursuant to ITT Clause 30, and furnishing the performance security, pursuant to ITB Clause 31.

13.7 	The tender security may be forfeited:

- if a Tenderer (i) withdraws its tender during the period of tender validity specified by the Tenderer

on the Tender Form; or (ii) does not accept the correction of errors pursuant to ITT Clause 22.2;

or

- in case of a successful Tenderer, if the Tenderer fails:

- to sign the Contract in accordance with ITT Clause 30; or

(ii) 	to furnish performance security in accordance with ITT Clause 31.

.

14. 	Period of Validity of Tenders

14.1     	Tenders shall remain valid for 180 days after the deadline for submission of tenders prescribed by the Purchaser, pursuant to ITI Clause 17.    A  tender  valid  for  a  shorter  period  shall  be  rejected  by  the  Purchaser  as  non- responsive.

14.2     	In exceptional circumstances, the Purchaser may solicit the Tenderer's consent to an extension of the period of validity.  The request and the responses thereto shall be made in writing (or by cable or telex or fax).  The earnest money deposit provided under ITT Clause 13 shall also be suitably extended.  A Tenderer may refuse the request without forfeiting its earnest money deposit.  A Tenderer granting the request will not be required nor permitted to modify its tender.

15. 	Format and Signing of Tender

15.1     	The original and all copies of the tender shall be typed or written in indelible ink and shall be signed by the Tenderer or a person or persons duly authorized to bind the tenderer to the Contract. The latter authorization shall be indicated by written power-of-attorney accompanying the tender. All pages of the tender, except for unamended printed literature, shall be initialed by the person or persons signing the tender.

15.2     	The Tenderer shall furnish information as described in the Form of Tender on commissions or gratuities, if any,  paid or to be paid to agents relating to this Tender, and to contract execution if the Tenderer is awarded the  contract.

15.3	Any interlineations, erasures or overwriting shall be valid only if they are initialed by the persons or persons signing the tender

D. Submission of Tenders

16. 	Deadline for Submission of Tenders

16.1     	The Purchaser may, at its discretion, extend this deadline for submission of tenders by amending the tender  documents  in  accordance  with  ITB  Clause  5,  in  which  case  all  rights  and  obligations  of  the  Purchaser  and  Tenderers previously subject to the deadline will thereafter be subject to the deadline as extended.

17. 	Modification and Withdrawal of Tenders

17.1     	No tender may be withdrawn in the interval between the deadline for submission of tenders and the expiration of the period of tender validity specified by the Tenderer on the Tender Form. Withdrawal of a tender during this interval may result in the Tenderer's forfeiture of its earnest money deposit, pursuant to ITT Clause 13.7.

E. Tender Opening and Evaluation of Tenders

18. 	Opening of Tenders by the Purchaser

18.1     	The Purchaser will open all tenders, in the presence of Tenderers’ representatives who choose to attend, at 11.30 am on 15.01.2014 whichever applicable and in the chamber of Director, Raichur  Institute of Medical Sciences, Raichur.

The Tenderers' representatives who are present shall sign a register evidencing their attendance.  In the event of the specified date of Tender opening being declared a holiday for the Purchaser, the tenders shall be opened at the appointed time and location on the next working day.

19. 	Clarification of Tenders

19.1     	During  evaluation  of  tenders,  the  Purchaser  may,  at  its discretion, ask the Tenderer for a clarification of its  tender. The request for clarification and the response shall be in writing and no change in prices or substance of the tender shall be sought, offered or permitted.

20. 	Preliminary Examination

20.1     The Purchaser will examine the tenders to determine whether they are complete, whether any computational  errors

have  been   made,  whether  required  sureties  have  been  furnished,  whether  the  documents  have  been  properly  signed,  and  whether  the  tenders  are  generally  in  order.  Tenders from Agents, without proper authorization from the manufacturer as per Section XIII, shall be treated as non-responsive.

    - Where the Tenderer has quoted for more than one schedule, if the tender security furnished is inadequate for all the

schedules, the Purchaser shall take the price tender into account only to the extent the tender is secured.  For this

purpose, the extent to which the tender is secured shall be determined by evaluating the requirement of tender security to be furnished for the schedule included in the tender (offer) in the serial order of the Schedule of Requirements of the Tender document.

  - Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the lower of the two will prevail. If the supplier does not accept the correction of errors, its tender will be rejected and its tender security may be forfeited.

  - The Purchaser may waive any minor informality or non-conformity or irregularity in a tender which does not

constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of any

Tenderer.

20.4     Prior  to  the  detailed  evaluation,  pursuant  to  ITB  Clause  23,  the  Purchaser  will  determine  the  substantial

responsiveness of each tender to the tender documents. For purposes of these Clauses, a substantially responsive  tender  is  one  which  conforms  to  all  the  terms  and   conditions  of  the  tender  documents  without  material  deviations.  Deviations  from  or  objections  or  reservations  to  critical  provisions  such  as  those  concerning  Performance  Security  (GCC  Clause  6).    Warranty  (GCC  Clause  14),  Force  Majeure  (GCC  Clause  24),  Limitation of liability  (GCC Clause 28), Applicable law (GCC Clause 30), and Taxes & Duties (GCC Clause  32) will be deemed to be a material deviation. The Purchaser's determination of a tender's responsiveness is to be based on the contents of the tender itself without recourse to extrinsic evidence.

20.5     If a tender is not substantially responsive, it will be rejected by the Purchaser and may not subsequently be made

responsive by the Tenderer by correction of the non-conformity.

21. 	Evaluation and Comparison of Tenders

21.1     The  Purchaser  will  evaluate  and  compare  the  tenders  which  have  been  determined  to  be  substantially

responsive, pursuant  to  ITT  Clause  22  for  each  schedule  separately.    No tender will be considered if the complete requirements covered in the schedule is not included in the tender.  However, as stated in ITT Clause 9, Tenderers are allowed the option to tender for any one or more schedules and to offer discounts for combined schedules.  These discounts will be taken into account in the evaluation of the tenders so as to determine the tender or combination of tenders offering the lowest evaluated cost for the Purchaser in deciding award(s) for each schedule.

21.2     The Purchaser's evaluation of a tender will exclude and not take into account:

(a)      Any allowance for price adjustment during the period of execution of the Contract, if provided in the tender.

21.3     	The  Purchaser's  evaluation  of  a  tender  will  take     into   account,   in   addition   to   the   tender   price   (Ex-factory/ex-warehouse/off-the-shelf price of the goods offered from within India, such price to include all costs  as well as duties and taxes paid or payable on components and raw material incorporated or to be incorporated  in the goods, and Excise duty on the finished goods, if payable) and price of incidental services, the following  factors, in the manner and to the extent indicated in ITT Clause 23.4 and in the Technical Specifications:

(a) 	cost  of  inland  transportation,  insurance  and  other  costs  within  India  incidental  to  the  delivery  of  the  goods to their final destination;

(b) 	Delivery schedule offered in the tender;

(c) 	Deviations in payment schedule from that specified in the Special Conditions of Contract;

(d) 	The cost of components, mandatory spare parts and service;

(e) 	The availability in India of spare parts and after-sales services for the goods / equipment offered in the  Tender;

(f) 	The projected operating and maintenance costs during the life of the equipment;  and

(g) 	The performance and productivity of the equipment offered.

21.4     Pursuant to ITT Clause 23.3, one or more of the following evaluation methods will be applied:

(a) 	Inland Transportation, Insurance and Incidentals:

(i) 	Inland transportation, insurance and other incidentals for delivery of goods to the final destination as stated in ITT Clause 9.2 (iii).

The above costs will be added to the tender price.

(b) 	Delivery Schedule:

(i) 	The Purchaser requires that the goods under the Invitation for Tenders shall be delivered at the time specified in the Schedule of Requirements.  The estimated time of arrival of the goods at the project site should be calculated for each tender after allowing for reasonable transportation time.  Treating  the  date  as  per  schedule  of  requirements  as  the  base,  a  delivery  "adjustment"  will  be  calculated for other tenders at 2% of the ex-factory price including excise duty for each month of  delay beyond the base and this will be added to the tender price for evaluation.  No credit will be given to earlier deliveries and tenders offering delivery beyond 60 days for imported goods and 30 days for indigenous goods of stipulated delivery period will be treated as unresponsive.

(c)  	Deviation in Payment Schedule:

The Special Conditions of Contract stipulate the payment schedule offered by the Purchaser.  If a tender deviates from the schedule and if such deviation is considered acceptable to the Purchaser, the tender will be evaluated by calculating interest earned for any earlier payments involved in the terms outlined in the tender as compared to those stipulated in this invitation, at a rate of 12 % percent per annum.

(d) 	Cost of Spare Parts:

(i) 	Appendix to the Technical Specifications lists the items and quantities of major assemblies, components and selected items of spare parts, likely to be required during the initial Eight years (Three years Warranty period + 5 years under AMC/CMC) period of operation of the plant. The total cost of these items and quantities at the unit prices quoted in each bid will be added to the tender price.

OR

(ii)   The Purchaser will draw up a list of high usage and high value items of components and spare parts along with estimated quantities of usage in the initial Eight years period of operation. The total cost of these items and quantities will be computed from spare parts unit prices submitted by the tenderer and added to the tender price.

OR

(iii)   The Purchaser will estimate the cost of spare parts usage in the initial Eight years period of operation, based on information furnished by each tenderer as well as on past experience of the Purchaser or  other Purchasers in similar situations.  Such costs shall be added to the tender price for evaluation.

(e) 	Spare Parts and After Sales Service Facilities in India:

The cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined elsewhere in the tender documents, if quoted separately, shall be added to the tender price.

(f) 	Operating and Maintenance Costs:

Since the operating and maintenance costs of the equipment under procurement form a major part of the life cycle cost of the equipment, these costs will be evaluated as follows:

- Equipments/Instruments shall be based on per operation per year for 8 years after warranty at Reagents/Chemicals/Disposables price of Rupees.......

ii)     Spare parts costs shall be based on 	each case of operation based on the guaranteed figures provided

by the Tenderer in the response to AMC, of the Technical  Specifications  or  based  on  past  actual

figures for similar equipment already in use with the Purchaser; and  provided  by  the  Tenderer  in

response to  ………………

(iii)    All future costs will be discounted to present value at a   discount factor of 10 percent.

(g) 	Performance and Productivity of the Equipment:

(i)  Tenderers  shall  state  the  guaranteed  performance  or  efficiency  in  response  to  the  Technical  Specification.  For  each  drop  in  performance  or  efficiency  below  the  norm  of  100,  an  adjustment  of  Rs.(Proportionate Value) will be added to the tender price, representing the capitalized cost of additional operating costs  over the life of the plant using the methodology specified in the Technical Specifications;  OR

(ii) Goods  offered  shall  have  a  minimum  productivity  specified  under  the  relevant  provisions  in  Technical Specifications to be considered responsive.   Evaluation shall be based on the cost per unit of  the actual productivity of goods offered in the bid and adjustment will be added to the tender price using  the methodology specified in the Technical Specifications.

22. 	Contacting the Purchaser

22.1     Subject to ITT Clause 21, no Tenderer shall contact the Purchaser on any matter relating to its tender, from the

time  of  the  tender  opening  to  the  time  the  Contract  is  awarded.    If the tenderer    wishes to bring additional information to the notice of the purchaser, it should do so in writing.

22.2     Any effort by a Tenderer to influence the Purchaser in its decisions on tender evaluation, tender comparison or contract award may result in rejection of the Tenderer's tender.

F. Award of Contract

23. 	Post qualification

23.1     	In the absence of prequalification, the Purchaser will determine to its satisfaction whether the Tenderer that is selected as having submitted the lowest evaluated responsive tender meets the criteria specified in ITT Clause 11.2 (b) and is qualified to perform the contract satisfactorily.

23.2     	The determination will take into account the Tenderer's financial, technical and production capabilities. It will be based upon an examination of the documentary evidence of the Tenderer's qualifications submitted by the Tenderer, pursuant to ITT Clause 11, as well as such other information as the Purchaser deems necessary and appropriate.

23.3     	An  affirmative  determination  will  be  a  prerequisite  for  award  of  the  Contract  to  the  Tenderer.  A  negative  determination will result in rejection of the Tenderer's tender, in which event the Purchaser will proceed to the  next  lowest  evaluated  tender  to  make  a  similar  determination  of  that  Tenderer's  capabilities  to  perform  the  contract satisfactorily.

24. 	Award Criteria

24.1     	Subject to ITT Clause 28, the Purchaser will award the Contract to the successful Tenderer whose tender has  been  determined  to  be  substantially  responsive  and  has  been  determined  as  the  lowest  evaluated  tender,  provided further that the Tenderer is determined to be qualified to perform the Contract satisfactorily.

25. 	Purchaser's right to vary Quantities at Time of Award

25.1     	The Purchaser reserves the right at the time of Contract award to increase or decrease by up to 25 percent of the  quantity of goods and services originally specified in the Schedule of Requirements without any change in unit  price or other terms and conditions.

26. 	Purchaser's Right to Accept Any Tender and to Reject Any or All Tenders

26.1     	The Purchaser reserves the right to accept or reject any tender, and to annul the tendering process and reject all tenders at any time prior to contract award, without thereby incurring any liability to the affected Tenderer or Tenderers.

27. 	Notification of Award

27.1     	Prior  to  the  expiration  of  the  period  of  tender  validity,  the  Purchaser  will  notify  the  successful  tenderer  in  writing by registered letter or by cable/telex or fax, to be confirmed in writing by registered letter, that its tender  has been accepted.

27.2     	The notification of award will constitute the formation of the Contract.

27.3     	Upon the successful Tenderer's furnishing of performance security pursuant to ITT Clause 31, the Purchaser will promptly notify the name of the winning Tenderer to each unsuccessful Tenderer and will discharge its earnest money deposit, pursuant to ITT Clause 13.

27.4     	If, after notification of award, a Tenderer wish to ascertain the grounds on which it’s tender was not selected, it should address its request to the Purchaser.  The Purchaser will promptly respond in writing to the unsuccessful Tenderer.

28. 	Signing of Contract

28.1     	At  the  same  time  as  the  Purchaser  notifies  the  successful  tenderer  that  its  tender  has  been  accepted,  the  Purchaser  will  send  the    Tenderer  the  Contract  Form  provided  in  the  tender  documents,  incorporating  all  agreements between the parties.

28.2     	Within  21  days  of  receipt  of  the  Contract  Form,     the  successful  Tenderer  shall  sign and date the Contract and return it to the Purchaser.

29. 	Performance Security

29.1     	Within 07 days of the receipt of notification of award from the Purchaser, the successful Tenderer shall furnish  the  performance  security  in  accordance  with  the  Conditions  of  Contract,  in  the  Performance  Security  Form  provided in the tender documents or in another form acceptable to the Purchaser.

29.2     	Failure of the successful Tenderer to comply with the requirement of ITT Clause 30.2 or ITT Clause 31.1 shall constitute sufficient grounds for the annulment of the award and forfeiture of the earnest money deposit, in which event the Purchaser may make the award to the next lowest evaluated Tenderer or call for new tenders.

30 	Corrupt or Fraudulent Practices

30.1     	The Government requires that Tenderers/ Suppliers/ Contractors observe the highest standard of ethics during the procurement and execution of Government financed contracts.  In pursuance of this policy, the Government:

(a) 		Defines, for the purposes of this provision, the terms set forth as follows:

(i)     “corrupt  practice”  means  the  offering,  giving,  receiving  or  soliciting  of  any  thing  of  value  to  influence the action of a public official in the procurement process or in contract execution; and

(ii)    “fraudulent  practice”  means  a  misrepresentation  of  facts  in  order  to  influence  a  procurement  process or the execution of a contract to the detriment of the Government, and includes collusive  practice among Tenderers (prior to or after tender submission) designed to establish tender prices  at artificial non-competitive levels and to deprive the Government of the benefits of free and open  competition;

(b)    	will reject a proposal for award if it determines that the Tenderer recommended for award has engaged  in corrupt or fraudulent practices in competing for the contract in question;

(c)   	will  declare  a  firm  ineligible,  either  indefinitely  or  for  a  stated  period  of  time,  to  be  awarded  a  Government  financed    contract  if  it  at  any  time  determines  that  the  firm  has  engaged  in  corrupt  or  fraudulent practices in competing for, or in executing, a Government-financed contract.

30.2     	Furthermore,  Tenderers  shall  be  aware  of  the  provision  stated  in  sub-clause  4.4  and  sub-clause  23.1  of  the  General Conditions of Contract.

SECTION-V

GENERAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

Clause Number 	Topic 	Page Number

1.   	Definitions                     			17

2.   	Application 			17

3.   	Standards 			17

4.   	Use of Contract Documents and Information; Inspection and Audit by 		17

Government

5.   	Patent Rights 			17

6.   	Performance Security 			17

7.   	Inspection and Tests 		18

8.   	Packing 			18

9.   	Delivery and Documents 			18

10. 	Insurance 			18

11. 	Transportation 			18

12.   	Incidental Services   			19

13.   	Spare Parts 			19

14.   	Warranty 			19

15.   	Payment 			20

16.   	Prices 			20

17.   	Change Orders 			20

18.   	Contract Amendments 			20

19.   	Assignment 			20

20.   	Subcontracts 			20

21.   	Delays in Supplier's Performance 			20

22.   	Liquidated Damages 			20

23.   	Termination for Default 			20

24.   	Force Majeure 			21

25.   	Termination for Insolvency   			21

26.   	Termination for Convenience 			21

27.   	Settlement of Disputes 			21

28.   	Limitation of Liability 			22

29.   	Governing Language 			22

30.   	Applicable Law  			22

31.   	Notices 			22

32.   	Taxes and Duties      			22

SECTION-V

GENERAL CONDITIONS OF CONTRACT

1. 	Definitions

1.1     In this Contract, the following terms shall be interpreted as indicated:

(a)    "The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in  the  Contract  Form  signed  by  the  parties,  including  all  the  attachments  and  appendices  thereto  and  all  documents incorporated by reference therein;

(b)   "The Contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations;

(c)    "The Goods" means all the equipment, machinery, and/or other materials which the Supplier is required to

supply to the Purchaser under the Contract;

(d)    "Services" means services ancillary to the supply of the Goods, such as transportation and insurance, and any

other incidental services, such as installation, commissioning, provision of technical assistance, training  and

other obligations of the Supplier covered under the Contract;

(e)    “GCC” means the General Conditions of Contract contained in this section.

(f)    “SCC” means the Special Conditions of Contract.

(g)    “The Purchaser” means the organization purchasing the Goods, as named in SCC.

(h)    “The Purchaser’s country” is the country named in SCC.

(i)     “The Supplier” means the individual or firm supplying the Goods and Services under this Contract.

(j)     “The Government” means the Government of Karnataka State.

(k)    “The Project Site”, where applicable, means the place or places named in SCC.

(l)     “Day” means calendar day.

2.  	Application

2.1	These General Conditions shall apply to the extent that they are not superseded by provisions in other parts of the Contract.

3. 	Standards

3.1	The   Goods   supplied   under   this   Contract   shall   conform   to   the   standards   mentioned   in   the   Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standard appropriate to the Goods’ country of origin and such standards shall be the latest issued by the concerned institution.

4. 	Use of Contract Documents and Information; Inspection and Audit by the Government

4.1	The  Supplier  shall  not,  without  the  Purchaser's  prior  written  consent,  disclose  the  Contract,  or  any  provision  thereof,  or  any  specification,  plan,  drawing,  pattern,  sample  or  information  furnished  by  or  on  behalf  of  the  Purchaser in connection therewith, to any person other than a person employed by the Supplier in performance of  the Contract.  Disclosure to any such employed person shall be made in confidence and shall extend only as far as may be necessary for purposes of such performance.

4.2	The Supplier shall not, without the Purchaser's prior written consent, make use of any document or information enumerated in GCC Clause 4.1 except for purposes of performing the Contract.

4.3     	Any document, other than the Contract itself, enumerated in GCC Clause 4.1 shall remain the property of the  Purchaser  and  shall  be  returned  (in  all  copies)  to  the  Purchaser  on  completion  of  the  Supplier's  performance  under the Contract if so required by the Purchaser.

4.4 	The  supplier  shall  permit  the  Government  to  inspect  the  Supplier’s  accounts  and  records  relating  to  the  performance of the Supplier and to have them audited by auditors appointed by the Government, if so required  by the Government.

5. 	Patent Rights

5.1     	The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

6. 	Performance Security

6.1     	Within 07 days of receipt of the notification of contract award, the Supplier shall furnish Performance Security to the Purchaser for an amount of 10% of the Contract Value, valid up to 90 days after the date of completion of performance obligations including Warranty obligations. In the event of any correction of defects or replacement  of  defective  material  during  the  Warranty  period,  the  Warranty  for  the  corrected/replaced  material  shall  be  extended to a further period of 12 months and the Performance Bank Guarantee for proportionate value shall be extended 60 days over and above the initial Warranty period.

6.2     	The  proceeds  of  the  performance  security  shall  be  payable  to  the  Purchaser  as  compensation  for  any  loss  resulting from the Supplier's failure to complete its obligations under the Contract.

6.3     	The Performance Security shall be denominated in Indian Rupees and shall be in one of the following forms:

(a)    	A  Bank  guarantee  or  irrevocable  Letter  of  Credit,  issued by a Nationalized/Scheduled bank in the form  provided in the tender documents or another form acceptable to the Purchaser; or

(b)   	A cashier's check or Banker’s certified check, or crossed demand draft or pay order drawn in favour of the  Purchaser.; or

(c)   	Specified small savings instruments pledged to the Purchaser.

6.4     	The Performance Security will be discharged by the Purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier's performance obligations, including any Warranty obligations, under the Contract.

6.5     	In the event of any contract amendment, the Supplier shall, within 02 days of receipt of such amendment, furnish  the  amendment  to  the  Performance  Security,  rendering  the  same  valid  for  the  duration  of  the  Contract  as  amended for 60 days after the completion of performance obligations including Warranty obligations.

7. 	Inspections and Tests

7.1 	The  Purchaser  or  its  representative  shall  have  the  right  to  inspect  and/or  to  test  the  Goods  to  confirm  their  conformity to the Contract specifications at no extra cost to the Purchaser. SCC and the Technical Specifications  shall  specify  what  inspections  and  tests  the  Purchase r  requires  and  where  they  are  to  be  conducted.    The Purchaser shall notify the Supplier in writing in a timely manner of the identity of any representatives retained for these purposes.

7.2     	The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery   and/or   at   the   Goods   final   destination.   If   conducted   on   the   premises   of   the   Supplier   or   its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data - shall be furnished to the inspectors at no charge to the Purchaser.

7.3     	Should   any   inspected   or   tested   Goods   fail   to     conform  to  the  specifications,  the  Purchaser  may  reject the  goods  and  the  Supplier  shall  either  replace  the  rejected  Goods  or  make  alterations  necessary  to  meet  specification requirements free of cost to the Purchaser.

7.4     	The Purchaser's right to inspect, test and, where necessary, reject the Goods after the Goods' arrival at Project  Site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and  passed by the Purchaser or its representative prior to the Goods shipment.

7.5     	Nothing in GCC Clause 7 shall in any way release the Supplier from any warranty or other obligations under this Contract.

7.6 	Manuals and Drawings

7.6.1   	Before the goods and equipment are taken over by the Purchaser, the Supplier shall supply operation and maintenance manuals together with drawings of the goods and equipment.

These shall be in  such  detail  as  will  enable  the  Purchaser  to  operate,  maintain,  adjust  and  repair  all  parts  of  the  equipment as stated in the specifications.

7.6.2   	The manuals and drawings shall be in the ruling language (English) and in such form and numbers as stated in the contract.

7.6.3   	Unless and otherwise agreed, the goods and equipment shall not be considered to be completed for the purpose of taking over until such manuals and drawings have been supplied to the Purchaser.

8. 	Packing

8.1     	The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract.  The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage.  Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

8.2  	The packing, marking and documentation within and outside the packages shall comply strictly with such special  requirements as shall be provided for in the Contract including additional requirements, if any, specified in SCC  and in any subsequent instructions ordered by the Purchaser.

8.3  	Packing Instructions: The Supplier will be required to make separate packages for each Consignee. Each Package will be marked on three sides with proper paint/indelible ink the following:

i) Project, ii) Contract No iii) Suppliers Name, and iv) Packing List Reference number

9. 	Delivery and Documents

9.1     	Delivery of the Goods shall be made by the Supplier in accordance with the terms specified by the Purchaser in the Notification of Award.  The details of shipping and/or other documents to be furnished by the supplier are specified in SCC.

10.     Insurance

10.1   	The Goods supplied under the Contract shall be fully insured in Indian Rupees against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery. For delivery of goods at site, the insurance shall be obtained by the Supplier in an amount equal to 110% of the value of the goods from “warehouse to warehouse” (final destinations) on “All Risks” basis including War risks and Strikes.

11.     Transportation

11.1   	Where  the  Supplier  is  required  under  the  Contract  to  transport  the  Goods  to  a  specified  place  of  destination  within India defined as Project site, transport to such place of destination in India including insurance, as shall be specified in the Contract, shall be arranged by the   Supplier,  and  the  related  cost  shall  be  included  in  the Contract Price

12.     Incidental Services

12.1   The supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC:

(a)    	Performance or supervision of the on-site assembly and/or start-up of the supplied Goods;

(b)    	Furnishing of tools required for assembly and/or maintenance of the supplied Goods;

(c)    	Furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

(d)    	performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed  by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this  Contract; and

(e)    	Training of the Purchaser's personnel, at the Supplier's plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

12.2   	Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services.

13.     Spare Parts

13.1   	As  specified  in  the  SCC,  the  Supplier  may  be  required  to  provide  any  or  all  of  the  following  materials,  notifications, and information pertaining to spare parts manufactured or distributed by the Supplier:

(a)    	such spare parts as the Purchaser may elect to purchase from the Supplier, providing that this election shall  not relieve the Supplier of any warranty obligations under the Contract; and

(b)    	In the event of termination of production of the spare parts:

(i) 	Advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and

(ii)  	following  such  termination,  furnishing  at  no  cost  to  the  Purchaser,  the  blueprints,  drawings and specifications of the spare parts, if requested.

13.2   	The Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares for the Goods, such as gaskets, plugs, washers, belts etc. Other spare parts and components shall be supplied as promptly as possible but in any case within 3 months of placement of order.

14.     Warranty

14.1   	The Supplier warrants that the Goods supplied under this Contract are new, unused, of the most recent or current models and those they incorporate all recent improvements in design and materials unless provided otherwise in the Contract.  The Supplier further warrants that all Goods supplied under this Contract shall have no defect  arising  from  design,  materials  or  workmanship  (except  when  the  design  and/or  material  is  required  by  the  Purchaser's Specifications) or from any act or omission of the Supplier, that may develop under normal use of the  supplied Goods in the conditions prevailing in the country of final destination.

14.2   	This warranty shall remain valid for 36 months of operation or 12 months after the Goods or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the Contract, or for 36 months after the date of shipment from the place of loading whichever period concludes earlier. The Supplier shall, in addition, comply with the performance and/or consumption guarantees specified under the Contract. If specify appropriate figure depending on type of equipment. For   reasons   attributable   to   the   Supplier,   these guarantees are not attained in whole or in part, the Supplier shall at its discretion either:

(a) 	make such changes, modifications, and/or additions to the Goods or any part thereof as may be necessary in  order to attain the contractual guarantees specified in the Contract at its own cost and expense and to carry  out further performance tests in accordance with SCC Clause 2; OR

(b) 	Pay liquidated damages to the Purchaser with respect to the failure to meet the contractual guarantees. The rate of these liquidated damages shall be as specified in the Technical Specifications. (the rate shall be higher than the adjustment rate used in the bid evaluation under ITT Clause 23.4(f) or (g).

14.3   	The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty.

14.4   	Upon receipt of such notice, the Supplier shall, within the period of FOUR days and with all reasonable speed, repair or replace the defective Goods or parts thereof, free of cost at the ultimate destination. The Supplier shall  take  over  the  replaced  parts/goods  at  the  time  of  their  replacement.  No  claim  whatsoever,  shall  lie  on  the  Purchaser  for  the  replaced  parts/goods  thereafter.  In  the  event  of  any  correction of defects or replacement of  defective  material  during  the  Warranty  period,  the  Warranty  for  the  corrected  or  replaced  material  shall  be  extended to a further period of 12 months.

14.5   	If the Supplier, having been notified, fails to remedy the defect(s) within SEVEN days, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

15.     Payment

15.1   	The method and conditions of payment to be made to the Supplier under this Contract shall be specified in the SCC.

15.2   	The  Supplier's  request(s)  for  payment  shall  be  made  to  the  Purchaser  in  writing,  accompanied  by  an  invoice  describing,  as  appropriate,  the  Goods  delivered  and  the  Services  performed,  and  by  documents,  submitted  pursuant to GCC Clause 9, and upon fulfillment of other obligations stipulated in the contract.

15.3   	Payments shall be made promptly by the Purchaser but in no case later than sixty (60) days after submission of the invoice with satisfactory installation / commissioning report from the concerned.

15.4   	Payment shall be made in Indian Rupees.

16.     Prices

16.1    	Prices payable to the supplier as stated in the contract shall be firm during the performance of the contract.

17.     Change Orders

17.1   	The Purchaser may at any time, by written order given to the Supplier pursuant to GCC Clause 31, make changes within the general scope of the Contract in any one or more of the following:

(a)    	Drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

(b)    	The method of shipping or packing;

(c)    	The place of delivery; and/or

(d)    	The Services to be provided by the Supplier.

17.2   	If any such change causes an increase or decrease     in  the  cost  of,  or  the  time  required  for,  the  Supplier's performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or  delivery  schedule,  or  both,  and  the  Contract  shall  accordingly  be  amended.    Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier's receipt of the Purchaser’s change order.

18.     Contract Amendments

18.1   	Subject to GCC Clause 17, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

19.     Assignment

19.1   	The Supplier shall not assign, in whole or in part, its obligations to perform under the Contract, except with the Purchaser’s prior written consent.

20.     Subcontracts

20.1   	The Supplier shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in the tender. Such notification, in his original tender or later, shall not relieve the Supplier from any liability or obligation under the Contract. Sub-contracts shall be only for bought out items and sub-assemblies.

20.2   	Subcontracts must comply with the provisions of GCC Clause 2.

21.     Delays in the Supplier's Performance

21.1   	Delivery of the Goods and performance of the Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in the Schedule of Requirements.

21.2   	If  at  any  time  during  performance  of  the  Contract,  the  Supplier  or  its  sub-contractor(s)  should  encounter  conditions  impeding  timely  delivery  of  the  Goods  and  performance  of  Services,  the  Supplier  shall  promptly  notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s).  As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate

the situation and may, at its discretion, extend  the Supplier’s time for performance with or without liquidated damages, in which case the extension shall be  ratified by the parties by amendment of the Contract.

21.3   	Except as provided under GCC Clause 24, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of liquidated damages.

22.     Liquidated Damages

22.1   	Subject to GCC Clause 24, if the Supplier fails to deliver any or all of the Goods or to perform the Services  within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under  the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.5% of the delivered  price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery  or performance, up to a maximum deduction of 10% of the Contract Price..  Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 23.

23.     Termination for Default

23.1   	The Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the Supplier, terminate the Contract in whole or part:

(a)    	If the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or  within any extension thereof granted by the Purchaser pursuant to GCC Clause 21; or

(b)    	If the Supplier fails to perform any other obligation(s) under the Contract.

(c)    	If  the  Supplier,  in  the  judgment  of  the  Purchaser  has  engaged  in  corrupt  or  fraudulent  practices  in

competing for or in executing the Contract.

For the purpose of this Clause:

“Corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution.

“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the  execution of a contract to the detriment of the Borrower, and includes collusive practice among Bidders  (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to  deprive the Borrower of the benefits of free and open competition.

23.2   	In  the  event  the  Purchaser  terminates  the  Contract  in  whole  or  in  part,  pursuant  to  GCC  Clause  23.1,  the  Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar  to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods  or Services.  However, the Supplier shall continue the performance of the Contract to the extent not terminated.

24.     Force Majeure

24.1   	Notwithstanding the provisions of GCC Clauses 21, 22, 23, the Supplier shall not be liable for forfeiture of its  performance  security,  liquidated  damages  or  termination  for  default,  if  and  to  the  extent  that,  its  delay  in  performance  or  other  failure  to  perform  its  obligations  under  the  Contract  is  the  result  of  an  event  of  Force  Majeure.

24.2   	For  purposes  of  this  Clause,  "Force  Majeure"  means  an  event  beyond  the  control  of  the  Supplier  and  not  involving the Supplier's fault or negligence and not foreseeable.  Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

24.3   	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof.  Unless  otherwise  directed  by  the  Purchaser  in  writing,  the  Supplier  shall  continue  to  perform  its  obligations  under  the  Contract  as  far  as  is  reasonably  practical,  and  shall  seek  all  reasonable  alternative means for performance not prevented by the Force Majeure event.

25.     Termination for Insolvency

25.1   	The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

26.     Termination for Convenience

26.1   	The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser's convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

26.2   	The  Goods  that  are  complete  and  ready  for  shipment  immediately   after  the  Supplier's  receipt  of  notice  of  termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

(a)    	to have any portion completed and delivered at the Contract terms and prices; and/or

(b)    	to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for  materials and parts previously procured by the Supplier.

### 27.     Settlement of Disputes

27.1   	The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

27.2   	If, the parties have failed to resolve immediately  their dispute or difference by such mutual consultation,  then  either  the  Purchaser  or  the  Supplier  may  give  notice  to  the  other  party  of  its  intention  to  commence  arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be  commenced unless such notice is given.

27.2.1   	 Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract.

27.2.2    	Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC.

27.3    	Notwithstanding any reference to arbitration herein,

(a)    The parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and

(b)   	The Purchaser shall pay the Supplier any monies due the Supplier.

28. 	Limitation of Liability

28.1   	Except  in  cases  of  criminal  negligence  or  willful  misconduct,  and  in  the  case  of  infringement  pursuant  to  Clause 5,

(a)   	The Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or  consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that  this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser;  and

(b)   	The aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

29. 	Governing Language

29.1   	The contract shall be written in English language. Subject to GCC Clause 30, English language version of the Contract shall govern its interpretation.  All  correspondence  and  other  documents  pertaining  to  the  Contract  which are exchanged by the parties shall be written in the same language.

30.     Applicable Law

30.1   	The Contract shall be interpreted in accordance with the laws of the Union of India.

31.     Notices

31.1   	Any notice given by one party to the other pursuant to this Contract shall be sent to other party in writing or by cable, telex or facsimile and confirmed in writing to the other Party’s address specified in SCC.

31.2   	A notice shall be effective when delivered or on the notice's effective date, whichever is later.

32.     Taxes and Duties

32.2   	Suppliers shall be entirely responsible for all taxes, duties, license fees, octroi, road permits, etc., incurred until delivery of the contracted Goods to the Purchaser.

SECTION-VI

SPECIAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

Item No. 	Topic 	Page Number

`

1. 	Definitions (GCC Clause 1) 	28

2. 	Inspection and Tests (GCC Clause 7)   	28

3. 	Delivery and Documents (GCC Clause 9) 	28

4. 	Incidental Services (GCC Clause 12)  	28

5. 	Payment (GCC Clause 15) 	28

6. 	Settlement of Disputes (GCC Clause 27)  	29

7. 	Notices (GCC Clause 31) 	29

8. 	Progress of Supply 	29

s9. 	Right to use defective equipment 	30

10 	Supplier Integrity 	 30

11 	Supplier’s Obligation 	 30

12 	Patent Rights                                                                             30

13.	      Additional qualifications criteria			     30

SECTION-VI

SPECIAL CONDITIONS OF CONTRACT

The following Special Conditions of Contract shall supplement the General Conditions of Contract.  Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract.  The corresponding clause number of the General Conditions is indicated in parentheses.

1. 	Definitions (GCC Clause 1)

(a) 	The Purchaser is Director, Raichur Institute of Medical Sciences, Raichur

(b) 	The Supplier is the firm or individual who have been awarded the contract.

2. 	Inspection and Tests (GCC Clause 7)

The following inspection procedures and tests are required by the Purchaser:

- the Purchaser reserves the right to depute its officer / official / experts for pre-shipment inspection to confirm whether the equipment confirms with the technical specification.

- The purchaser is at liberty to entrust any third party for inspection.

- During inspection the TA/DA, accommodation facilities to be borne by the supplier only.

_________________________________________________________

_________________________________________________________

3.        Delivery and Documents (GCC Clause 9)

Upon  delivery  of  the  Goods,  the  supplier  shall  notify  the  purchaser  and  the  insurance  company  by  cable/telex/fax  the  full  details  of  the  shipment  including  contract  number,  railway  receipt  number  and  date,  description of goods, quantity, name of the consignee etc. The supplier shall mail the following documents to the purchaser with a copy to the insurance company:

(i) 	Four Copies of the Supplier invoice showing contract number, goods' description, quantity, unit price, total amount;

(ii) 	Railway receipt/acknowledgment of receipt of goods from the consignee(s);

(iii) 	Four Copies of packing list identifying the contents of each package;

(iv) 	Insurance Certificate;

(v) 	Manufacturer's/Supplier's warranty certificate;

(vi) 	Inspection Certificate issued by the nominated inspection agency, and the Supplier's factory inspection report; and

The above documents shall be received by the Purchaser before arrival of the Goods (except where the Goods  have been delivered directly to the Consignee with all documents) and, if not received, the Supplier will be  responsible for any consequent expenses.

4. 	Incidental Services (GCC Clause 12)

The following services covered under Clause 12 shall be furnished and the cost shall be included in the contract  price:

________________________________________________________

Specify the cost for any clauses excluding those specified in Clause 12 of GCC.

5. 	Payment (GCC Clause 15)

a).  For indigenous equipments-100% of the bill after duly certified by the concerned persons for working   satisfactory, stock taken and countersign by the head of the institution.

b). For Imported equipments-

(i) 	On  Delivery: 80% Eighty  percent  of  the  contract  price  shall  be  paid  on  receipt  of  Goods  and  upon  submission of the documents specified in SCC Clause 3 above; and

(ii)     On Final Acceptance: the remaining 20% twenty percent of the Contract Price shall be paid to the supplier within 30 days after the date of the acceptance certificate issued by the Purchaser’s representative for the respective delivery. The evaluated of price in Indian currency is firm and final no currency fluctuations is allowed.

Note:   (i) 	Where payments are to be effected through Letter of Credit (LC), the same shall be subject to the latest  Uniform Customs and Practice for Documentary Credit, of the International Chamber of Commerce;

(ii) 	The LC will be confirmed at Supplier’s cost if requested specifically by the Supplier;

(iii) 	If LC is required to be extended /reinstated for reasons not attributable to the Purchaser, the charges thereof shall be to the Supplier’s account.

6. 	Settlement of Disputes (Clause 27)

The dispute settlement mechanism to be applied pursuant to GCC Clause 27.2.2 shall be as follows:

(a) 	In case of Dispute or difference arising between the Purchaser and a domestic supplier relating to any matter arising out of or connected with this agreement, such disputes or difference shall be settled in accordance with the Arbitration and Conciliation Act, 1996, by a Sole Arbitrator. The Sole Arbitrator  shall be appointed by agreement between the parties; failing such agreement, by the appointing authority  namely  the 12Indian  Council  of  Arbitration/President  of  the  Institution  of  Engineers  (India)/The  International  Centre  for  Alternative  Dispute  Resolution  (India).  A certified copy of the appointment Order shall be supplied to each of the Parties.

(b) 	Arbitration  proceedings  shall  be  held  at  Bangalore  Karnataka,  and  the  language  of  the  arbitration  proceedings and that of all documents and communications between the parties shall be English.

(c) 	The decision of the of arbitrators shall be final and binding upon both parties.  The cost and expenses of Arbitration proceedings will be paid as determined by the Arbitrator.  However, the expenses incurred by each party in connection with the preparation, presentation etc. of its proceedings shall be borne by each party itself.

7. 	Notices (Clause 31)

For the purpose of all notices, the following shall be the address of the Purchaser and Supplier.

Purchaser:  	Director,

Raichur Institute of Medical Sciences,

Hyderabad Rod, Raichur-584102.

Supplier:  (To be filled in at the time of Contract signature)

.............................................

.............................................

.............................................

.............................................

8. 	Progress of Supply:

Supplier shall regularly intimate progress of supply,  in writing, to the Purchaser as under:

- Quantity offered for inspection and date;

- Quantity accepted/rejected by inspecting agency and date;

- Quantity dispatched/delivered to consignees and date;

- Quantity where incidental services have been satisfactorily completed with date;

- Quantity  where  rectification/repair/replacement  effected/completed  on  receipt  of  any  communication  from consignee/Purchaser with date;

- Date of completion of entire Contract including incidental services, if any; and

- Date of receipt of entire payments under the Contract

(in case of stage-wise inspection, details required may also be specified).

9. 	Right to use defective equipment:

If after delivery, acceptance and installation and within the guarantee and warranty period, the operation or use  of the equipment proves to be unsatisfactory, the Purchase shall have the right to continue to operate or use  such  equipment  until  rectifications  of  defects,  errors  or  omissions  by  repair  or  by  partial  or  complete  replacement is made without interfering with the Purchaser’s operation.

10. 	Supplier Integrity:

The supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract  using  state-of-the-art  methods  and  economic  principles  and  exercising  all  means  available  to  achieve  the  performance specified in the Contract.

11. 	Supplier’s Obligations:

The Supplier is obliged to work closely with the Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The  Supplier  will  abide  by  the  job  safety  measures  prevalent  in  India  and  will  free  the  Purchaser  from  all  demands or responsibilities arising from accidents or loss of life the cause of which is the Supplier’s negligence.  The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The Supplier is responsible for managing the activities of its personnel or sub-contracted personnel and will  hold itself responsible for any misdemeanors.

The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of  his responsibilities, in strict confidence and will not reveal such information to any other party without the prior  written approval of the Purchaser.

12. 	Patent Rights:

In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial  design rights arising from the use of the Goods or any part thereof in the Purchaser’s country, the supplier shall  act expeditiously to extinguish such claim.  If the supplier fails to comply and the Purchaser is required to pay  compensation  to  a  third  party  resulting  from  such  infringement,  the  supplier  shall  be  responsible  for  the  compensation  including  all  expenses,  court  costs  and  lawyer  fees.    The Purchaser will give notice to the supplier of such claim, if it is made, without delay.

- Additional qualification criteria (Clause ITT 25.2)

| Sl No. | Name of the Documents |
| --- | --- |
| 01 | Name of the Equipment and Country of Origin & Model quoted (Item wise Statement with Manufacturer Name). |
| 02 | PAN Certificate. |
| 03 | Sales Tax/VAT Certificate |
| 04 | Sales Tax Clearance Certificate as on 31.03.2013 |
| 05 | Annual Turnover for the last 3 Years |
| 06 | Balance sheet and Profit and Loss Account for the last 3 Years |
| 07 | Notarized copy of Manufacture License for the Equipment if the Tenderer is a Manufacturer. |
| 08 | Authorized Agency Certificate/s from the Principal Manufacturer in original, If Tenderer is an Authorized Agent/Distributor. (As per the Section XIV) |
| 09 | Signed Tender Form (As per the Section-IX-Part I) |
| 10 | Self declaration as per Section IX-Part II |
| 11 | List of supplies/Installations of similar Equipment (As per the Section-XIII). |
| 12 | ISI/ISO/CE/FDA any Certificate. |
| 13 | Technical specifications information & Brochure of the Equipment in original. |
| 14 | Compliance for the Tender specifications and clarifications for deviations. |
| 15 | Service Centre/s in Karnataka & Technical Staff available. |
| 16 | User’s Certificate/s of supplies/Installations of similar Equipment, for the last 3 years (As per the Section- XVI). |
| 17 | Quality control Certificate, if the Tenderer is a Manufacturer (As per the Section-XV) |
| 18 | Original Solvency Certificate issued in favour of Director RIMS Raichur to the value of 100 lakhs |

14.      Refurbished Equipments

If it is found that the refurbished equipments are supplied the entire cost along with     E.M.D and Security Deposit is forfeited. The company shall be black listed.

15.    Alternate models

Tenderers shall quote only one model equivalent to the Tender specifications. Alternate models should not be quoted. If quoted liable to be rejected.

16. Delivery period:-

16. The successful tenderer should supply the Indigenous Equipments within 30 Days and imported

Equipments within 60 days after opening of L.C.

17. Tenderers shall quote only one Model equivalent /nearer to the   tender   specification.  Alternate model should not be

quoted.  If    quoted liable to be    rejected

18. If F.L.C has to be opened, amount of Indian currency quoted in the tender  will be final.  The currency rates will be calculated on the date of Techo-Commercial bid opening & Fluctuation in the respected currency rates will not be entertained.

19. Foreign Letter of Credit  will be opened in the name of Principle Manufacture  & Inland letter of credit will be opened in the name of Authorized   agent only

SECTION VII

SCHEDULE OF REQUIREMENTS

Part - I  Schedule I

| Sl No | Item Code | Name of the Equipment | Quantity required | EMD |
| --- | --- | --- | --- | --- |
| 1 | RIMS-EQP-80 | FLAT PANEL CEILING/FLOOR MOUNTED CATH LAB | 1 | 12,92,500.00 |

Part – II (Incidental Services) **

See GCC clause 12

The successful tenderer should supply the Indigenous equipments within 30 Days and imported equipments within 60 days after opening of L.C.

TECHNICAL SPECIFICATIONS OF EQUIPMENTS/INSTRUMENTS

| SL No. | Detailed Technical Specifications of the Equipment/Instrument |
| --- | --- |
|  | Enclosed below or its equivalent may be quoted |

| Sl. No. | TECHNICAL SPECIFICATION FOR FLAT PANEL CEILING/FLOOR MOUNTED CATH LAB |
| --- | --- |
| 1 | C-ARM The C-Arm should be multidirectional high speed giving free access to the patient. The C-Arm should have both right and left positioning capabilities essential for some of the pace maker procedures. All movements should be motorized with C-arm angulation RAO/LAO angulation should be min +/- 90 deg or more The CRA/CAU angulations should be +/- 45 deg or more Variable speed of at least 20 deg/sec or more. The source to FD distance should be at least 80cms. The C-Arm should have parking facility without hindrance to the patients. The Gantry should be either Ceiling Suspended or Floor Mounted. Facility for motorized positioning/rotation of stand from the floor base/ceiling pivot by +/-90 degrees for improved workflow and for ease of operation left side motorized right side manual/motorized of the patient in addition to zero degree normal head end position. |
| 2 | X-RAY GENERATOR / TUBE The X-ray generator should be of high frequency X-ray generator with centralized system control with max power rating 100 KW. The X-ray generator should be able to deliver up to 1000 mA. The X-ray generator should be able to support pulsed fluoroscopy high contrast fluoroscopy and normal fluoroscopy as standard. System should have automatic dose correction. The X-ray tube should be at least bearing technology with noiseless performance and anode heat storage capacity of at least 2.4 MHU. The focal sport size of the large and small focus should be less than 1 mm. Cooling rate or heat dissipation in kW should be at least 4500W or more Higher will be preferred. The generator should be able to expose at 30 fr/sec |
| 3 | DIGITAL CARDIAC IMAGING SYSTEM: Digital imaging system for cardiac angiography and interventional procedures with online automatic image enhancement during fluoroscopy and cine. High-resolution digital imaging system with high quality image display, DICOM connectivity The DSA systems should have facility to perform acquisition in frame rates ranging from 0.5f/sec to 6f/sec in 1024x1024x12 bit matrix. The system should have the facility to perform live online and real-time DSA. Online DSA should be performed from examination room itself. ECG synchronized dynamic road mapping with overlying facility of dynamic reference image over real time fluoro image. The system should have image storage level of minimum 100,000 images in 1Kx1K matrix on the main system disk. The system should have automatic selection of reference images corresponding to C-arm position and automatic positioning of C-arm corresponding to selected reference image. The system should support acquisitions and display in high-resolution 1024x1024x12 bit matrix at 12,5f/sec, 25f/sec. The system should have complete coronary analysis (QCA) programme to be, which is clinically validated with control from patient tableside in the examination room. CD recording system facility for recording on a CD in DICOM-3 format and additionally in CD medical format for quick review. The software necessary for viewing these images recorded on the CD should be recorded on CD itself. Image Harmonization feature or s/w for improved image quality should be quoted as standard Edge enhancement s/w should be provided |

| 4 | PATIENT TABLE: The table should have rotational facility for emergency use. Floor mounted angiography table with low absorption carbon fibre tabletop all movements with standard accessories. Table should be able to take patient weight of 200 kgs. Additional weight for resuscitation in the metal free overhang area with or without having to retract the table back on its base Operator lamp (Light) Pivot range of the Table: -90 to + 180 deg. Table should be able to lock at any position - Option. |
| --- | --- |
| 5 | CATHLAB RECORDING SYSTEM: Hemodynamic cath Recorder NIBP, SpO2, Three Invasive Pressures, 12 Lead Surface ECG, Thermal cardiac output, Body surface temperature, Respiration Patient cable set (10 Lead Trunk Cable, 5 Lead Limb Set,5 Lead Chest Set, 5 Lead Radiolucent set, SPO2 Adaptor Cable, Reusable pediatric/adult clip SpO2 sensor, NIBP Hose, Comfort Reusable Cuff Kit - all sizes (infant, pediatric, small adult, adult, large adult, thigh), Bath Probe, Cardiac Output Cable, External Temperature Probe). Printer, IBP Cable/ Reusable Transducer to be supplied |
| 6 | FLAT DETECTOR: 180 um and above pixel arrays ensure highest spatial resolution and excellent contrast. Fluoroscopy as well as image acquisition are always done in 1 k matrix and 14-bit gray scale resolution with high details visibility. Acquisition frame rates are possible up to 30 f/s. The detector should be minimum of 10 inch Diagonal. |
| 7 | EXAMINATION LAMP, 230 V Ceiling-mounted examination lamp, flexibly adjustable towards the user, for diagnostics and minor surgery. Examination light mach 130 F with focusable dielectric light system. Luminance: 50,000 Lux (4,650) for 100 cm distance. Working distance: 70 to 140 cm Colour rendering index Ra (gen): 96 Colour temperature: 4,300 Kelvin Focusable spot size: 14 to 25 cm. Light body diameter: 22 cm Halogen lamp: 22.8 V/50W, Power supply examination lamp 230V. |
| 8 | FOLLOWING ITEMS SHOULD BE QUOTED AS STANDARD ACCESSORIES: a) Ceiling mounted operator lamp-1 No Pressure injector with syringe of at least 50ml capacity with min 200 disposable syringes – 1 No. Defibrillator Biphasic-1 No Lead glass at least 2 ft x 4 ft Hemo oximeter for instant O2 saturation measurement – 2 Nos. Suitable UPS of rated capacity should be quoted for complete cath lab with 15min backup Ceiling and table mounted with stabilizer radiation shields. – 1 No. each Two-way microphones with speakers system. Lead aprons wrap around-6 Nos. Lead aprons non wrap around-6 Nos Thyroid shield-6 Nos Lead eye glasses – 6 Nos. Heamodynamic Monitor with ECG, 3 Pressure & SPO2, 4 Waveforms – 1No. Radiation Protection Shield – Ceiling & Table – 1 each Online printing Spot Light – 1 No. |

| 9 | WARRANTY: a) 36 months(3 years) for the main system as well as for X-ray Tube from the date of installation. b) After 36 months of statutory warranty, free Labour AMC for the next three years should be provided c) Cost of both Labour AMC and Comprehensive AMC Should be quoted from 7th to 9th year d) List of essential spares required should be quoted separately. e) Original data sheet must be attached. |
| --- | --- |
| 10 | OPTIONAL ITEMS: Software for synchronization of C.T. image to Cath Lab. Image visa versa Rotational Angiography with minimum Gantry rotation speed of 45 degree/sec or more Stent viewing software & hardware. Latest with Fade-in & Fade-out with respect to the lumen & capability to display within 5 seconds in Examination room. Stent Boost / Equivalent |

Cath Lab:

- Serial no 6 about Flat detector. One detectors should be there. One has roadmap for procedure and other for live procedure (monitor).

- Serial no 10. Optional item should be made has standard accessory (to be included in serial no 8) as stent boost technology is routinely used now a days.

- Intra aortic balloon pump (IABP) is needed in cath lab / cardiology services.

- Temporary pace makers at least two cardiology services.

- ACT machine for measuring Activated clotting time after heparin administration at least on in cath lab.

- 120 K.V. on line UPS

- Stent boost- (Optional)- preloaded –in-built

- Pressure injector

- 17” inch monitor

- Trans-esophagial probe

- The unit should be approved by AERB.

- Unit should be approved by B.I.S. (Bureau of Indian Standards) for Mechanical & Electrical Safety.

### SECTION VIII

### QUALIFICATION CRITERIA

(Referred to in Clause 11.2(b) of ITT)

1. 	(a)  The Tenderer if a Manufacturer who must have manufactured, tested and supplied the Equipment/Instrument (s) similar to the type specified in the ‘Schedule of Requirements’ up to at least 200% where Tender quantity is one No. and 80% where Tendered quantity is more than one No. for the Equipment/Instrument/s, the quantity in any one of the last 3 years.  The equipments offered for supply must be of the most recent series models incorporating the latest improvements in design.  The models should have been released last two years back and be in satisfactory operation for 18 months as on date of tender opening.

(b)   Tenders of Tenderers quoting as authorized representative of a manufacturer, meeting with the above     requirement in full, can also be considered provided:

(i) The manufacturer furnishes authorization in the prescribed format assuring full guarantee and warranty   obligations as per GCC and SCC; and

(ii) The tenderer, as authorized representative, has supplied, installed and commissioned satisfactorily at least 100% where Tender quantity equipment is 1 No. and 50% where Tender quantity are more than 1 NO. of the quantity similar to the type specified in the Schedule of Requirements in any one of the last three years which must be in satisfactory operation for at least 18 months on the date of tender opening.

2. 	The tenderer should furnish the information on all past supplies and satisfactory performance for both (a) and (b) above, in Performa under Section XII.

Documents to be kept along with “Techno-Commercial Bid” (1ST COVER) & “Price Bid” (2nd Cover)

- “Techno-Commercial Bid” (First Cover):

| Sl No. | Name of the Documents |
| --- | --- |
| 01 | Name of the Equipment and Country of Origin & Model quoted (Item wise Statement with Manufacturer Name). |
| 02 | PAN Certificate. |
| 03 | Sales Tax/VAT Certificate |
| 04 | Sales Tax Clearance Certificate as on 31.03.2013 |
| 05 | Annual Turnover for the last 3 Years |
| 06 | Balance sheet and Profit and Loss Account for the last 3 Years |
| 07 | Notarized copy of Manufacture License for the Equipment if the Tenderer is a Manufacturer. |
| 08 | Authorized Agency Certificate/s from the Principal Manufacturer in original, If Tenderer is an Authorized Agent/Distributor. (As per the Section XIV) |
| 09 | Signed Tender Form (As per the Section-IX-Part I) |
| 10 | Self declaration as per Section IX-Part II |
| 11 | List of supplies/Installations of similar Equipment (As per the Section-XIII). |
| 12 | ISI/ISO/CE/FDA any Certificate. |
| 13 | Technical specifications information & Brochure of the Equipment in original. |
| 14 | Compliance for the Tender specifications and clarifications for deviations. |
| 15 | Service Centre/s in Karnataka & Technical Staff available. |
| 16 | User’s Certificate/s of supplies/Installations of similar Equipment, for the last 3 years (As per the Section- XVI). |
| 17 | Quality control Certificate, if the Tenderer is a Manufacturer (As per the Section-XV) |
| 18 | Original Solvency Certificate issued in favour of Director RIMS Raichur to the value of 200 lakhs |

II. “Price Bid” (second Cover):

| Sl No. | Name of the Documents |
| --- | --- |
| 01 | Price of the Equipment/Instrument quoted including all charges (As per the Section-X). |

The Price Bid will be opened after the Technical Evaluation and offers received by the tenderers who fulfill the tender conditions as per Committee and only their price bid will be opened.

SECTION IX-PART I

TENDER OFFER FORM

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

To,

The Director,

RIMS, Hyderabad Rod,

Raichur-584102

Gentlemen and/or Ladies:

[insert numbers], the receipt of which is  hereby duly acknowledged, we, the undersigned, offer to supply and deliver Having examined the Tender Documents including Addenda Nos	...............

.......................................................

(Description of Goods and Services)  in conformity with the said tender documents for the sum of 	.....................

(Total tender amount in words and figures) or such other sums as may be ascertained in accordance with the  Schedule of Prices attached herewith and made part of this tender.

We undertake, if our tender is accepted, to deliver the goods in accordance with the delivery schedule specified in  the Schedule of Requirements.

If our tender is accepted, we will obtain the guarantee of a bank in a sum equivalent to  	......	  percent of the Contract

Price for the due performance of the Contract, in the form prescribed by the Purchaser.

We agree to abide by this tender for the Tender validity period specified in Clause 14.1 of the ITT and it shall  remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal contract is prepared and executed, this tender, together with your written acceptance thereof and your  notification of award, shall constitute a binding Contract between us.

We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will  strictly observe the laws against fraud and corruption in force in India namely “Prevention of Corruption Act 1988”.

We understand that you are not bound to accept the lowest or any tender you may receive.

We clarify/confirm that we comply with the eligibility requirements as per ITT Clause 1 of the tender documents.

Dated this 	.......	day of 	............................	2013

_________________________________ ___________________________________  (signature) 	(in the capacity of)

Duly authorized to sign Tender for and on behalf of  _____________________________________________________

| Date: Place: Phone No: Fax No: | Signature: Name in Capital Capacity *: Seal of the firm: |
| --- | --- |
| Name and Address & Phone No. of the person signing the tender form: | Official: Ph: | Residential: Ph: |

SECTION IX-PART II

TENDER DECLARATION FORM

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

TENDER FOR SUPPLY OF FLAT PANEL CEILING/FLOOR MOUNTED CATH LAB

FORMAT OF UNDERTAKING TO BE FURNISHED BY THE TENDERER FOR HAVING

ACCEPTED THE TERMS & CONDITIONS OF THE TENDER DOCUMENT.

To

The Director,

RaichurInstitute of Medical Sciences,

Hyderabad Rod, Raichur-583 104.

Sir,

In accordance with the terms and conditions of tender document for supply of FLAT PANEL CEILING/FLOOR MOUNTED CATH LAB I / We have gone through all the terms & conditions and hereby agree to accept and undertake to abide the same.

Further stating that firm is not Black Listed with any Government/Quasi   Government Organizations & the documents submitted in the Tender are not false / erroneous, we will not supply the refurbished equipments/instruments.

| Date Place | Signature [ ] Name in capital Seal of the Firm/Company. |
| --- | --- |

SECTION – X

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

PRICE SCHEDULE

Name of the Firm:

| Price for each unit |
| --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| Item No. | Item description & specifications | Country of origin | Quantity of unit | Ex-factory Ex-warehouse/ Ex- showroom off the shelf | Excise duty if any | Packing & forwarding | Inland transportation Insurance and other local cost incidental to delivery | Other incidental charges | Sales and other taxes payable if contract is awarded | Unit price (a+b+c+d+e+f) | Total Price per schedule for delivery at final destinations( 4x11) | Delivery period | Remarks |
|  |  |  |  | (a) | (b) | (c) | (d) | (e) | (f) |  |  |  |  |
| II. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| III. | Other costs if any on turnkey basis (Details) Rs. (Like Ups, AC, Additional Accessories & Civil Works etc. Rs._______________ |
| III. | After the 3years warranty & free Labour AMC Cost of Labour AMC Should be quoted from 7th to 9th yearRs. Rs _______________ |
| IV. | After the 3years warranty & free Labour AMC Cost of Comprehensive AMC Should be quoted from 7th to 9th yearRs. Rs _______________ |
| V | Grand Total – (I+II+III+IV) Rs._______________ |

Signature of the Bidder________________________________________________________

Name______________________________________________________________________

Business Address____________________________________________________________

Note: In case of discrepancy between unit price and total price the unit price shall prevail.  And in case of words and figures, the lowest shall be considered.

a)  The bidder shall give list of spares for two years operation separately indicating description. Quantity, Unit Price and total price in the above format for those items whose scope of

Supplies include spare parts as per technical Specifications.  (Given in Section – VI)

SECTION XI

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

CONTRACT FORM

THIS AGREEMENT made the 	.......	day of	......................... 20014 between ........................(Name of Purchaser) of ..............(Country of Purchaser)  (Hereinafter called "the Purchaser") of the one part and .....................(Name of Supplier) of .........................(City and Country of Supplier)  (Hereinafter called "the Supplier") of the other part :

WHEREAS the Purchaser is desirous that certain Goods and ancillary services viz., 	(Brief Description of Goods and Services)  and has accepted a tender by the Supplier for the supply of those goods and  services in the sum of .............................................................(Contract Price in Words and Figures)  (Hereinafter called “the Contract Price").

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1. 	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2. 	The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a) 	The Tender Form and the Price Schedule submitted by the Tenderer;

(b) 	The Schedule of Requirements;

(c) 	The Technical Specifications;

(d) 	The General Conditions of Contract;

(e) 	The Special Conditions of Contract; and

(f) 	The Purchaser's Notification of Award.

3. 	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4. 	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and  services and the remedying of defects therein, the Contract Price or such other sum as may become payable  under the provisions of the Contract at the times and in the manner prescribed by the Contract.

Brief particulars of the goods and services which shall be supplied/ provided by the Supplier are as under:  _______________________________________________________________________________

SL. 	BRIEF   	QUANTITY TO  	UNIT      	TOTAL 	DELIVERY TERMS

NO.     DESCRIPTION OF 	BE SUPPLIED    	PRICE    	PRICE

GOODS & SERVICES _________________________________________________________________________________________

_________________________________________________________________________________________

TOTAL VALUE:  DELIVERY SCHEDULE:

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, Sealed and Delivered by the said........................................ (For the Purchaser)

in the presence of:	.......................................

Signed, Sealed and Delivered by the

said 	.....................................................	(For the Supplier)

in the presence of:	.......................................

SECTION XII.

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

PERFORMANCE SECURITY BANK GUARANTEE FORM

To,

The Director,

Raichur Institute of Medical Sciences,

Hyderabad Rod,

Raichur-584102

WHEREAS................................................................... (Name of Supplier) hereinafter called "the Supplier" has undertaken, in pursuance of Contract No....................................Dated...........2014 to supply.............................................................. (Description of Goods and Services) hereinafter called "the Contract"

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier’s performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of.......................................................................... .(Amount of the Guarantee in Words and Figures) and we  undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and  without cavil or argument, any sum or sums within the limit of 	................................ (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the 	........	Day of...................	2014

Signature and Seal of Guarantors

................................

................................

................................

Date	......................	2014

Address:

................................................................

...............................................................

SECTION XIII

PROFORMA FOR PERFORMANCE STATEMENT FOR THE LAST FIVE YEARS

(Please see Clause 11.2 (b) of the Instructions to Tenders)

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

Name of the Firm: _________________________________________________________________________________

| Orders placed by (full address of purchaser | Order No. & Date | Description and qty. of goods ordered | Value of Order | Date of Completion of Delivery As per contract / Actual | Remarks indicating reasons for late delivery, if any | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

Signature and Seal of the Tenderer:	-----------------------------------------------------------------------------

SECTION XIV

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

MANUFACTURERS' AUTHORIZATION FORM*

(Please see Clause 11.2(a) of Instructions to Tenderers)

No. ……………………………                    							dated :………….

To,

The Director,

Raichur Institute of Medical Sciences,

Hyderabad Rod,

Raichur-584102

Dear Sir,

We ______________________________________________ who are established and reputable manufacturers of

_____________________________________________ ((name and description of goods offered) having factories at  (address  of factory)  do hereby authorize M/s__________________________________________________________                                        (Name and address of Agent)  to submit a tender, and  sign the contract with you for the goods manufactured by us against the above IFT.

No company or firm or individual other than M/s____________________________________________are authorized to tender, and conclude the contract for the above goods manufactured by us, against this specific IFT.  (This para should be deleted in simple items where manufacturers sell the product through different stockiest.)

We hereby extend our full guarantee and warranty as per Clause 14 of the General Conditions of Contract   for the goods and services offered for supply by the above firm against this IFT.

We will not supply refurbished equipments.

Yours faithfully,

(Name)

(Name of manufacturers)

* Note: - This letter of authority should be on the letterhead of the manufacturer and should be signed by a person competent and having the power of attorney to legally bind the manufacturer.  It should be uploaded  by the Tenderer in its tender.

SECTION XV

PROFORMA FOR EQUIPMENT AND QUALITY CONTROL

EMPLOYED BY THE MANUFACTURER

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

NAME OF THE TENDERER: ___________________________________________________________________________________

(Note:  All details should relate to the manufacturer for the items offered for supply)

1. 	Name & full address of the Manufacturer

2. 	(a) 	Telephone & Fax No 	Office/Factory/Works

(b) 	Telex No. 	Office/Factory/Works

(c) 	Telegraphic address:

3. 	Location of the manufacturing factory.

4. 	Details of Industrial License, wherever required as per statutory regulations.

5. 	Details of important Plant & Machinery functioning in each dept. (Monographs & description pamphlets  be supplied if available).

6. 	Details of the process of manufacture in the factory.

7. 	Details & stocks of raw materials held.

8. 	Production capacity of item(s) quoted for, with the existing Plant & Machinery

8.1 	Normal

8.2 	Maximum

9. 	Details of arrangement for quality control of products such as laboratory, testing equipment etc.

10. 	Details of staff:

10.1 	Details of technical supervisory staff in charge of production & quality control.

10.2 	Skilled labour employed.

10.3 	Unskilled labour employed.

10.4 	Maximum No. of workers (skilled & unskilled) employed on any day during the 18 months preceding the date of Tender.

11. Whether Goods are tested to any standard specification?  If so, copies of original test certificates should be submitted in triplicate.

12. Is the Manufacturer registered with the Directorate General of Supplies and Disposals, New Delhi 110 001, India?  If so, furnish full particulars of registration, period of currency etc. with a copy of the certificate of registration.

...............................................................

Signature and seal of the Manufacturer

SECTION-XVI

USER CERTIFICATE FORMAT

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

| 01 | Name of the Equipment/Instruments/Steel Furniture |  |
| --- | --- | --- |
| 02 | Supply Order No & Date |  |
| 03 | Supplied by |  |
| 04 | Model |  |
| 05 | Quantity |  |
| 06 | Date of Installation |  |
| 07 | Comment about performance of the Equipment. |  |
| 08 | Whether major break down occurred or not. |  |
| 09 | Any remarks about equipment/supplier |  |

Date: -			End users Signature with Seal.

SECTION XVII

Ref:-Tender No.RIMS/SUP/E-TEND/EQP/45/2013-14/IND456       Dated : 06.12.2013

SALES TAX CLEARANCE CERTIFICATE

This is to certify that M/s ………………………………………………………who is a registered dealer under VAT Act with regarding …………………………… having VAT TIN NO.…………………………& CST TIN NO. ………………………………has fixed Sales Tax return and tax cleared up to 31-03-2011 and no dues are outstanding for the said period.

Signature & Seal of the Commercial Tax Authority

# Text boxes

Affix the photograph of the person signing the document attested by a Gazeted Officer/Notary